ATEScope math functions.

Note that with most of the math functions, the result of the

operation may be placed in a new array so that, in principle,

one can accumulate 'N' operations.

o    Add two waveforms.

o    Subtract two waveforms.

o    Multiply two waveforms.

o    Invert a waveform.

o    Measure raise time.

o    Measure fall time.

o    Measure frequency.

o    Measure period.

o    Measure RMS voltage.

o    Measure peak-to-peak voltage.

o    Measure positive peak voltage.

o    Measure negative peak voltage.

o    Measure pulse high voltage.

o    Measure pulse low voltage.

o    Measure DC voltage.

o    Measure positive pulse width.

o    Measure negative pulse width.

o    Measure positive pulse duty-cycle.

o    Measure negative pulse duty-cycle.

o    Measure pulse amplitude.

o    Measure 1-cycle AC voltage.

o    Measure 1-cycle DC voltage.

o    Measure DC offset.

o    Measure overshoot.

o    Measure undershoot.

o    Measure phase.

o    Measure THD (total harmonic distortion).

o    Measure RMS voltage of an array.

o    Measure time to the highest peak.

o    Measure mean.

o    Measure variance.

o    Measure standard deviation.

o    Measure number of reference-level crossings.

o    Measure settling time.

o    Measure time to maximum slope.

o    Measure time to negative reference crossing.

o    Measure time to positive reference crossing.

o    Measure time to a specified reference voltage.

o    Measure time to within specified limits.

o    Absolute value of waveform.

o    Add a constant (vertical position uses this).

o    Subtract a constant.

o    Multiply by a constant (scale factor uses this).

o    Divide by a constant.

o    Display frequency components of repetitive waveforms

(spectrum analysis) with the following windows:

Hanning,

Hamming,

Raised cosine,

Analogic,

Gauss/Weedon,

Kaiser,

Blackman/Harris,

and none.

Default display is 10 dB/cm, just like hardware.